DESCRIPTION

DAMP-PEL C is an aqueous emulsion concentrate which is used to make mineral building materials damp-proof and water repellent.

APPLICATIONS

- Injection into building foundations at or below floor level to form a damp course.

- Making plasterboard repellent.

- Making fired clay and concrete products water repellent.

DIRECTIONS

DAMP-PEL C is supplied as a concentrate and is diluted with clean, clear water with a hardness of less than 200mg/litre of CaCO3. If the water is too hard, it will interfere with the emulsion particles. When diluting, add the DAMP-PEL C to the water with good stirring. Correctly diluted DAMP-PEL C will not separate for a substantial period, e.g. 1 day.

Dilutions:

Water repellent: one (1) part DAMP-PEL C to nine (9) parts water.

Damp-proofing: one (1) part DAMP-PEL C to four (4) parts water.

DAMP-PROOF COURSES

Bore 4-6mm diameter holes into the substrate 100mm apart in a 10o slope towards the ground.  Pressure inject a solution of DAMP-PEL C diluted four times with water. The dilution of DAMP-PEL C will require adjusting for the porosity of the substrate. Very porous substrates may need a dilution of 5-6 times. Required coverage is 1-2 litres of dilution per metre for a single 100mm wide wall.

WATER REPELLENT

Apply two coats of DAMP-PEL C as a wet-on-wet application. Spread rate of dilution should be 3-4m2 per litre per coat.

DAMP-PEL C should not be applied or injected in rain or inclement weather is expected within 72 hours.

Drying time for water repellency application is 4-6 hours at 25°C.

HANDLING & SAFETY

DAMP-PEL C should be keep away from glass or metals.

NOTE: A white deposit may form on the substrate surface if applied in excess.

TRANSPORT

DAMP-PEL C is not classified as a dangerous or hazardous good under the guidelines of Safe Work Australia.